(  Page 2

September 18, 2025

[image: image1.jpg]



RFI
(Request for Information)
1.) SSMH’s F1 & G1: Verify the required invert elevations of the 2 – 6” PVC service lines. Assumed @ 0.2’ of fall to outlet elevation.
2.) All CBI’s: These submittals reflect the use of JR HOE-525 Vane F/G/H assemblies for each CBI. Plan Views appear to show a KYTC Style Throated Curb Inlet layout maybe required. Please Verify.

3.) All Yard Drains: These submittals reflect the use of JR HOE-518 F/G’s. Please verify. 

4.) SSMH-F2: 8” PVC inlet elevation raised to 908.93 to achieve the plan noted & VMU required minimum 0.1’ of fall across the manhole base.

www.icastinc.com



