## Summary
Kiln Temperature Report — Criteria Summary
Period | 2026-07-19 to 2026-07-25
Limits | Low 45F / High 160F / Sustained window 60 min
Overall result | PASS
Sensor | Criterion | Observed | When | Result | Detail
K1 Temp | Never above 160F for more than 60 min |  |  | PASS | No readings above 160F
K1 Temp | Highest temp (entire period) at or below 160F | 102.3 | 07/21/2026 15:30 | PASS | Highest reading 102.3F at 07/21/2026 15:30
K1 Temp | Change no more than 45F within any 60 min | 12.2 | 07/22/2026 11:15 – 07/22/2026 12:15 (60 min) | PASS | Largest change 12.2F (88.3F to 100.5F) over 60 min
K2 Temp | Never above 160F for more than 60 min |  |  | PASS | No readings above 160F
K2 Temp | Highest temp (entire period) at or below 160F | 107.3 | 07/20/2026 18:15 | PASS | Highest reading 107.3F at 07/20/2026 18:15
K2 Temp | Change no more than 45F within any 60 min | 16.5 | 07/23/2026 11:15 – 07/23/2026 12:15 (60 min) | PASS | Largest change 16.5F (82.3F to 98.8F) over 60 min
K3 Temp | Never above 160F for more than 60 min |  |  | PASS | No readings above 160F
K3 Temp | Highest temp (entire period) at or below 160F | 97.1 | 07/20/2026 18:15 | PASS | Highest reading 97.1F at 07/20/2026 18:15
K3 Temp | Change no more than 45F within any 60 min | 8.1 | 07/24/2026 11:45 – 07/24/2026 12:45 (60 min) | PASS | Largest change 8.1F (79.6F to 87.7F) over 60 min
K6 Temp | Never above 160F for more than 60 min |  |  | PASS | No readings above 160F
K6 Temp | Highest temp (entire period) at or below 160F | 98 | 07/20/2026 19:45 | PASS | Highest reading 98F at 07/20/2026 19:45
K6 Temp | Change no more than 45F within any 60 min | 11.2 | 07/23/2026 04:15 – 07/23/2026 05:15 (60 min) | PASS | Largest change 11.2F (84.5F to 73.3F) over 60 min

## 2026-07-19
X-400 - Log | 2026-07-19
Date Time | K1 Temp(F) | K2 Temp(F) | K3 Temp(F) | K6 Temp(F) | Trigger
07/19/2026 00:00:00.000 DST | 91.2 | 93.1 | 85.2 | 82.2 | Time:()
07/19/2026 00:15:00.000 DST | 91.2 | 93.1 | 85.1 | 82.1 | Time:()
07/19/2026 00:30:00.000 DST | 91.1 | 93.0 | 85.1 | 82.2 | Time:()
07/19/2026 00:45:00.000 DST | 91.1 | 93.0 | 85.1 | 82.2 | Time:()
07/19/2026 01:00:00.000 DST | 91.0 | 93.0 | 85.0 | 82.2 | Time:()
07/19/2026 01:15:00.000 DST | 90.9 | 92.9 | 84.9 | 82.0 | Time:()
07/19/2026 01:30:00.000 DST | 90.9 | 92.9 | 85.0 | 81.8 | Time:()
07/19/2026 01:45:00.000 DST | 90.9 | 92.9 | 84.9 | 81.7 | Time:()
07/19/2026 02:00:00.000 DST | 90.9 | 92.8 | 84.9 | 81.8 | Time:()
07/19/2026 02:15:00.000 DST | 90.8 | 92.8 | 84.8 | 81.8 | Time:()
07/19/2026 02:30:00.000 DST | 90.7 | 92.8 | 84.8 | 81.8 | Time:()
07/19/2026 02:45:00.000 DST | 90.7 | 92.7 | 84.8 | 81.7 | Time:()
07/19/2026 03:00:00.000 DST | 90.6 | 92.7 | 84.7 | 81.5 | Time:()
07/19/2026 03:15:00.000 DST | 90.6 | 92.7 | 84.7 | 81.4 | Time:()
07/19/2026 03:30:00.000 DST | 90.5 | 92.5 | 84.7 | 80.8 | Time:()
07/19/2026 03:45:00.000 DST | 90.4 | 92.6 | 84.7 | 81.0 | Time:()
07/19/2026 04:00:00.000 DST | 90.4 | 92.5 | 84.6 | 80.9 | Time:()
07/19/2026 04:15:00.000 DST | 90.4 | 92.6 | 84.5 | 80.8 | Time:()
07/19/2026 04:30:00.000 DST | 90.4 | 92.5 | 84.5 | 81.1 | Time:()
07/19/2026 04:45:00.000 DST | 90.3 | 92.5 | 84.5 | 81.0 | Time:()
07/19/2026 05:00:00.000 DST | 90.3 | 92.5 | 84.4 | 81.0 | SchedTask:(Logs via email)
07/19/2026 05:00:00.000 DST | 90.3 | 92.5 | 84.4 | 81.0 | Time:()
07/19/2026 05:15:00.000 DST | 90.2 | 92.4 | 84.5 | 80.9 | Time:()
07/19/2026 05:30:00.000 DST | 90.2 | 92.4 | 84.4 | 80.9 | Time:()
07/19/2026 05:45:00.000 DST | 90.1 | 92.3 | 84.4 | 80.8 | Time:()
07/19/2026 06:00:00.000 DST | 90.1 | 92.4 | 84.4 | 80.8 | Time:()
07/19/2026 06:15:00.000 DST | 90.1 | 92.3 | 84.4 | 80.9 | Time:()
07/19/2026 06:30:00.000 DST | 90.0 | 92.3 | 84.3 | 80.9 | Time:()
07/19/2026 06:45:00.000 DST | 90.0 | 92.2 | 84.3 | 80.9 | Time:()
07/19/2026 07:00:00.000 DST | 89.9 | 92.2 | 84.3 | 80.9 | Time:()
07/19/2026 07:15:00.000 DST | 89.9 | 92.1 | 84.3 | 81.1 | Time:()
07/19/2026 07:30:00.000 DST | 89.9 | 92.1 | 84.3 | 81.3 | Time:()
07/19/2026 07:45:00.000 DST | 89.9 | 92.0 | 84.3 | 81.5 | Time:()
07/19/2026 08:00:00.000 DST | 89.9 | 92.0 | 84.3 | 81.7 | Time:()
07/19/2026 08:15:00.000 DST | 89.9 | 92.0 | 84.3 | 82.0 | Time:()
07/19/2026 08:30:00.000 DST | 89.9 | 92.0 | 84.4 | 82.1 | Time:()
07/19/2026 08:45:00.000 DST | 89.9 | 92.0 | 84.4 | 82.3 | Time:()
07/19/2026 09:00:00.000 DST | 89.9 | 91.9 | 84.4 | 82.4 | Time:()
07/19/2026 09:15:00.000 DST | 90.0 | 92.0 | 84.4 | 82.6 | Time:()
07/19/2026 09:30:00.000 DST | 89.9 | 91.8 | 84.4 | 82.8 | Time:()
07/19/2026 09:45:00.000 DST | 90.0 | 91.8 | 84.5 | 83.1 | Time:()
07/19/2026 10:00:00.000 DST | 90.0 | 91.8 | 84.5 | 83.3 | Time:()
07/19/2026 10:15:00.000 DST | 90.0 | 91.8 | 84.6 | 83.5 | Time:()
07/19/2026 10:30:00.000 DST | 90.0 | 91.8 | 84.5 | 83.7 | Time:()
07/19/2026 10:45:00.000 DST | 90.1 | 91.8 | 84.6 | 83.9 | Time:()
07/19/2026 11:00:00.000 DST | 90.1 | 91.8 | 84.8 | 84.1 | Time:()
07/19/2026 11:15:00.000 DST | 90.1 | 91.8 | 85.0 | 84.4 | Time:()
07/19/2026 11:30:00.000 DST | 90.2 | 91.8 | 85.4 | 84.6 | Time:()
07/19/2026 11:45:00.000 DST | 90.3 | 91.8 | 85.3 | 84.7 | Time:()
07/19/2026 12:00:00.000 DST | 90.3 | 91.8 | 85.6 | 84.9 | Time:()
07/19/2026 12:15:00.000 DST | 90.3 | 91.8 | 85.8 | 85.2 | Time:()
07/19/2026 12:30:00.000 DST | 90.3 | 91.8 | 85.9 | 85.3 | Time:()
07/19/2026 12:45:00.000 DST | 90.4 | 91.8 | 86.1 | 85.5 | Time:()
07/19/2026 13:00:00.000 DST | 90.4 | 91.8 | 86.2 | 85.6 | Time:()
07/19/2026 13:15:00.000 DST | 90.4 | 91.8 | 86.3 | 85.7 | Time:()
07/19/2026 13:30:00.000 DST | 90.4 | 91.8 | 86.3 | 85.8 | Time:()
07/19/2026 13:45:00.000 DST | 90.5 | 91.7 | 86.7 | 86.0 | Time:()
07/19/2026 14:00:00.000 DST | 90.5 | 91.7 | 86.8 | 86.1 | Time:()
07/19/2026 14:15:00.000 DST | 90.6 | 91.7 | 86.8 | 86.3 | Time:()
07/19/2026 14:30:00.000 DST | 90.6 | 91.7 | 87.3 | 86.4 | Time:()
07/19/2026 14:45:00.000 DST | 90.7 | 91.7 | 87.2 | 86.5 | Time:()
07/19/2026 15:00:00.000 DST | 90.7 | 91.7 | 87.2 | 86.5 | Time:()
07/19/2026 15:15:00.000 DST | 90.7 | 91.7 | 87.2 | 86.6 | Time:()
07/19/2026 15:30:00.000 DST | 90.7 | 91.7 | 86.8 | 86.5 | Time:()
07/19/2026 15:45:00.000 DST | 90.7 | 91.6 | 86.9 | 86.4 | Time:()
07/19/2026 16:00:00.000 DST | 90.8 | 91.7 | 87.1 | 86.5 | Time:()
07/19/2026 16:15:00.000 DST | 90.7 | 91.7 | 87.1 | 86.5 | Time:()
07/19/2026 16:30:00.000 DST | 90.8 | 91.7 | 87.2 | 86.6 | Time:()
07/19/2026 16:45:00.000 DST | 90.8 | 91.7 | 87.1 | 86.6 | Time:()
07/19/2026 17:00:00.000 DST | 90.8 | 91.7 | 87.0 | 86.7 | Time:()
07/19/2026 17:15:00.000 DST | 90.9 | 91.7 | 87.5 | 86.9 | Time:()
07/19/2026 17:30:00.000 DST | 90.9 | 91.7 | 87.2 | 86.7 | Time:()
07/19/2026 17:45:00.000 DST | 90.9 | 91.7 | 87.2 | 86.7 | Time:()
07/19/2026 18:00:00.000 DST | 90.9 | 91.7 | 87.2 | 86.7 | Time:()
07/19/2026 18:15:00.000 DST | 91.0 | 91.7 | 87.0 | 86.7 | Time:()
07/19/2026 18:30:00.000 DST | 90.9 | 91.7 | 86.9 | 86.6 | Time:()
07/19/2026 18:45:00.000 DST | 91.0 | 91.7 | 86.6 | 86.5 | Time:()
07/19/2026 19:00:00.000 DST | 91.0 | 91.7 | 86.6 | 86.3 | Time:()
07/19/2026 19:15:00.000 DST | 91.0 | 91.7 | 86.5 | 86.1 | Time:()
07/19/2026 19:30:00.000 DST | 91.0 | 91.7 | 86.5 | 86.1 | Time:()
07/19/2026 19:45:00.000 DST | 91.0 | 91.7 | 86.3 | 86.0 | Time:()
07/19/2026 20:00:00.000 DST | 91.0 | 91.7 | 86.2 | 85.9 | Time:()
07/19/2026 20:15:00.000 DST | 91.0 | 91.7 | 86.1 | 85.8 | Time:()
07/19/2026 20:30:00.000 DST | 91.0 | 91.6 | 86.1 | 85.7 | Time:()
07/19/2026 20:45:00.000 DST | 91.0 | 91.7 | 86.1 | 85.6 | Time:()
07/19/2026 21:00:00.000 DST | 91.0 | 91.6 | 86.1 | 85.6 | Time:()
07/19/2026 21:15:00.000 DST | 90.9 | 91.6 | 86.0 | 85.5 | Time:()
07/19/2026 21:30:00.000 DST | 91.0 | 91.7 | 85.8 | 85.3 | Time:()
07/19/2026 21:45:00.000 DST | 90.9 | 91.6 | 85.6 | 85.0 | Time:()
07/19/2026 22:00:00.000 DST | 90.9 | 91.6 | 85.5 | 84.8 | Time:()
07/19/2026 22:15:00.000 DST | 90.9 | 91.6 | 85.5 | 84.7 | Time:()
07/19/2026 22:30:00.000 DST | 90.9 | 91.6 | 85.4 | 84.6 | Time:()
07/19/2026 22:45:00.000 DST | 90.9 | 91.6 | 85.4 | 84.5 | Time:()
07/19/2026 23:00:00.000 DST | 90.9 | 91.5 | 85.4 | 84.5 | Time:()
07/19/2026 23:15:00.000 DST | 90.8 | 91.5 | 85.4 | 84.4 | Time:()
07/19/2026 23:30:00.000 DST | 90.8 | 91.5 | 85.3 | 84.2 | Time:()
07/19/2026 23:45:00.000 DST | 90.8 | 91.5 | 85.2 | 84.2 | Time:()

## 2026-07-20
X-400 - Log | 2026-07-20
Date Time | K1 Temp(F) | K2 Temp(F) | K3 Temp(F) | K6 Temp(F) | Trigger
07/20/2026 00:00:00.000 DST | 90.8 | 91.5 | 85.2 | 84.0 | Time:()
07/20/2026 00:15:00.000 DST | 90.8 | 91.4 | 85.2 | 83.9 | Time:()
07/20/2026 00:30:00.000 DST | 90.7 | 91.4 | 85.2 | 83.7 | Time:()
07/20/2026 00:45:00.000 DST | 90.7 | 91.4 | 85.1 | 83.5 | Time:()
07/20/2026 01:00:00.000 DST | 90.7 | 91.4 | 85.1 | 83.5 | Time:()
07/20/2026 01:15:00.000 DST | 90.6 | 91.4 | 85.1 | 83.4 | Time:()
07/20/2026 01:30:00.000 DST | 90.5 | 91.4 | 85.1 | 83.4 | Time:()
07/20/2026 01:45:00.000 DST | 90.5 | 91.3 | 85.0 | 83.3 | Time:()
07/20/2026 02:00:00.000 DST | 90.5 | 91.3 | 85.0 | 83.3 | Time:()
07/20/2026 02:15:00.000 DST | 90.4 | 91.3 | 85.0 | 83.2 | Time:()
07/20/2026 02:30:00.000 DST | 90.4 | 91.3 | 84.9 | 83.1 | Time:()
07/20/2026 02:45:00.000 DST | 90.4 | 91.3 | 85.0 | 83.0 | Time:()
07/20/2026 03:00:00.000 DST | 90.3 | 91.2 | 84.9 | 82.8 | Time:()
07/20/2026 03:15:00.000 DST | 90.3 | 91.1 | 84.9 | 82.5 | Time:()
07/20/2026 03:30:00.000 DST | 90.2 | 91.1 | 84.9 | 82.7 | Time:()
07/20/2026 03:45:00.000 DST | 90.2 | 91.1 | 84.9 | 82.9 | Time:()
07/20/2026 04:00:00.000 DST | 90.2 | 91.2 | 84.8 | 82.8 | Time:()
07/20/2026 04:15:00.000 DST | 90.1 | 91.0 | 84.9 | 82.7 | Time:()
07/20/2026 04:30:00.000 DST | 86.7 | 88.3 | 84.8 | 82.7 | Time:()
07/20/2026 04:45:00.000 DST | 85.7 | 87.9 | 84.8 | 82.6 | Time:()
07/20/2026 05:00:00.000 DST | 85.0 | 87.8 | 84.7 | 82.1 | Time:()
07/20/2026 05:15:00.000 DST | 84.2 | 87.5 | 84.7 | 82.0 | Time:()
07/20/2026 05:30:00.000 DST | 84.4 | 87.2 | 84.7 | 81.8 | Time:()
07/20/2026 05:45:00.000 DST | 84.4 | 86.7 | 84.6 | 81.7 | Time:()
07/20/2026 06:00:00.000 DST | 84.9 | 86.7 | 84.5 | 80.9 | Time:()
07/20/2026 06:15:00.000 DST | 84.5 | 86.5 | 84.4 | 80.7 | Time:()
07/20/2026 06:30:00.000 DST | 84.6 | 86.3 | 84.5 | 80.6 | Time:()
07/20/2026 06:45:00.000 DST | 85.0 | 86.3 | 84.5 | 80.5 | Time:()
07/20/2026 07:00:00.000 DST | 85.2 | 86.3 | 84.5 | 80.6 | Time:()
07/20/2026 07:15:00.000 DST | 84.9 | 85.9 | 84.2 | 80.5 | Time:()
07/20/2026 07:30:00.000 DST | 83.7 | 86.1 | 84.2 | 80.3 | Time:()
07/20/2026 07:45:00.000 DST | 84.0 | 86.4 | 84.3 | 80.4 | Time:()
07/20/2026 08:00:00.000 DST | 85.3 | 86.6 | 84.3 | 80.7 | Time:()
07/20/2026 08:15:00.000 DST | 85.9 | 86.9 | 84.2 | 80.7 | Time:()
07/20/2026 08:30:00.000 DST | 86.0 | 86.4 | 83.5 | 80.8 | Time:()
07/20/2026 08:45:00.000 DST | 86.0 | 86.6 | 84.0 | 81.0 | Time:()
07/20/2026 09:00:00.000 DST | 85.9 | 86.6 | 84.7 | 81.3 | Time:()
07/20/2026 09:15:00.000 DST | 85.6 | 87.1 | 85.2 | 81.4 | Time:()
07/20/2026 09:30:00.000 DST | 85.4 | 86.1 | 84.5 | 81.9 | Time:()
07/20/2026 09:45:00.000 DST | 85.7 | 86.4 | 84.2 | 82.2 | Time:()
07/20/2026 10:00:00.000 DST | 85.8 | 86.5 | 84.4 | 82.6 | Time:()
07/20/2026 10:15:00.000 DST | 86.6 | 86.9 | 85.4 | 82.9 | Time:()
07/20/2026 10:30:00.000 DST | 86.3 | 86.4 | 86.5 | 83.3 | Time:()
07/20/2026 10:45:00.000 DST | 87.5 | 87.0 | 86.3 | 83.4 | Time:()
07/20/2026 11:00:00.000 DST | 88.1 | 87.9 | 86.7 | 83.6 | Time:()
07/20/2026 11:15:00.000 DST | 88.1 | 87.9 | 86.8 | 83.7 | Time:()
07/20/2026 11:30:00.000 DST | 88.7 | 88.4 | 87.0 | 83.7 | Time:()
07/20/2026 11:45:00.000 DST | 88.3 | 88.0 | 87.2 | 83.8 | Time:()
07/20/2026 12:00:00.000 DST | 88.5 | 89.3 | 86.7 | 83.7 | Time:()
07/20/2026 12:15:00.000 DST | 88.6 | 89.0 | 87.3 | 84.0 | Time:()
07/20/2026 12:30:00.000 DST | 88.3 | 89.0 | 87.5 | 84.3 | Time:()
07/20/2026 12:45:00.000 DST | 88.6 | 87.8 | 87.6 | 84.6 | Time:()
07/20/2026 13:00:00.000 DST | 88.5 | 87.7 | 87.4 | 85.1 | Time:()
07/20/2026 13:15:00.000 DST | 88.9 | 88.0 | 87.6 | 85.4 | Time:()
07/20/2026 13:30:00.000 DST | 89.8 | 88.7 | 88.0 | 85.7 | Time:()
07/20/2026 13:45:00.000 DST | 89.1 | 88.7 | 88.4 | 86.0 | Time:()
07/20/2026 14:00:00.000 DST | 90.3 | 89.3 | 89.7 | 86.4 | Time:()
07/20/2026 14:15:00.000 DST | 91.0 | 89.5 | 90.0 | 87.2 | Time:()
07/20/2026 14:30:00.000 DST | 90.9 | 90.1 | 93.0 | 87.4 | Time:()
07/20/2026 14:45:00.000 DST | 91.4 | 89.7 | 94.4 | 87.6 | Time:()
07/20/2026 15:00:00.000 DST | 90.4 | 89.9 | 95.8 | 87.7 | Time:()
07/20/2026 15:15:00.000 DST | 90.4 | 89.8 | 94.9 | 88.4 | Time:()
07/20/2026 15:30:00.000 DST | 90.7 | 100.0 | 94.2 | 87.8 | Time:()
07/20/2026 15:45:00.000 DST | 91.8 | 99.3 | 94.6 | 88.4 | Time:()
07/20/2026 16:00:00.000 DST | 91.4 | 102.2 | 95.1 | 88.5 | Time:()
07/20/2026 16:15:00.000 DST | 91.4 | 101.6 | 95.6 | 88.4 | Time:()
07/20/2026 16:30:00.000 DST | 91.3 | 105.1 | 95.8 | 89.0 | Time:()
07/20/2026 16:45:00.000 DST | 91.4 | 105.8 | 95.8 | 89.3 | Time:()
07/20/2026 17:00:00.000 DST | 92.3 | 101.4 | 96.3 | 89.5 | Time:()
07/20/2026 17:15:00.000 DST | 93.0 | 103.8 | 96.8 | 89.4 | Time:()
07/20/2026 17:30:00.000 DST | 93.0 | 105.7 | 96.8 | 94.7 | Time:()
07/20/2026 17:45:00.000 DST | 93.0 | 103.4 | 96.9 | 94.6 | Time:()
07/20/2026 18:00:00.000 DST | 92.9 | 101.3 | 97.0 | 93.5 | Time:()
07/20/2026 18:15:00.000 DST | 92.8 | 107.3 | 97.1 | 94.3 | Time:()
07/20/2026 18:30:00.000 DST | 92.5 | 98.9 | 96.7 | 95.1 | Time:()
07/20/2026 18:45:00.000 DST | 92.5 | 96.6 | 96.6 | 95.1 | Time:()
07/20/2026 19:00:00.000 DST | 92.4 | 96.0 | 96.2 | 95.6 | Time:()
07/20/2026 19:15:00.000 DST | 92.2 | 95.6 | 96.2 | 95.7 | Time:()
07/20/2026 19:30:00.000 DST | 92.0 | 95.2 | 95.9 | 97.6 | Time:()
07/20/2026 19:45:00.000 DST | 91.6 | 95.0 | 95.7 | 98.0 | Time:()
07/20/2026 20:00:00.000 DST | 91.2 | 94.7 | 95.5 | 97.1 | Time:()
07/20/2026 20:15:00.000 DST | 90.9 | 94.4 | 95.2 | 95.3 | Time:()
07/20/2026 20:30:00.000 DST | 90.5 | 94.2 | 95.2 | 96.7 | Time:()
07/20/2026 20:45:00.000 DST | 90.4 | 94.2 | 95.1 | 96.6 | Time:()
07/20/2026 21:00:00.000 DST | 90.1 | 93.9 | 95.1 | 95.0 | Time:()
07/20/2026 21:15:00.000 DST | 89.7 | 93.8 | 94.9 | 96.0 | Time:()
07/20/2026 21:30:00.000 DST | 89.3 | 93.7 | 94.9 | 96.9 | Time:()
07/20/2026 21:45:00.000 DST | x.x | 93.6 | 94.7 | 96.5 | Time:()
07/20/2026 22:00:00.000 DST | 88.9 | 93.5 | 94.7 | 95.4 | Time:()
07/20/2026 22:15:00.000 DST | 88.6 | 93.4 | 94.5 | 95.8 | Time:()
07/20/2026 22:30:00.000 DST | 88.4 | 93.4 | 94.4 | 95.4 | Time:()
07/20/2026 22:45:00.000 DST | 88.2 | 93.4 | 94.3 | 95.4 | Time:()
07/20/2026 23:00:00.000 DST | 88.0 | 93.3 | 94.2 | 94.3 | Time:()
07/20/2026 23:15:00.000 DST | 87.9 | 93.2 | 94.2 | 95.2 | Time:()
07/20/2026 23:30:00.000 DST | 87.7 | 93.2 | 94.0 | 94.6 | Time:()
07/20/2026 23:45:00.000 DST | 87.5 | 93.1 | 93.9 | 93.2 | Time:()

## 2026-07-21
X-400 - Log | 2026-07-21
Date Time | K1 Temp(F) | K2 Temp(F) | K3 Temp(F) | K6 Temp(F) | Trigger
07/21/2026 00:00:00.000 DST | 87.5 | 93.0 | 93.9 | 93.5 | Time:()
07/21/2026 00:15:00.000 DST | 87.5 | 92.9 | 93.8 | 93.9 | Time:()
07/21/2026 00:30:00.000 DST | 87.3 | 92.9 | 93.8 | 93.4 | Time:()
07/21/2026 00:45:00.000 DST | 87.3 | 92.9 | 93.8 | 93.6 | Time:()
07/21/2026 01:00:00.000 DST | 87.3 | 92.9 | 93.7 | 93.3 | Time:()
07/21/2026 01:15:00.000 DST | 86.9 | 92.8 | 93.7 | 93.3 | Time:()
07/21/2026 01:30:00.000 DST | 86.7 | 92.7 | 93.7 | 93.2 | Time:()
07/21/2026 01:45:00.000 DST | 86.6 | 92.7 | 93.6 | 93.1 | Time:()
07/21/2026 02:00:00.000 DST | 86.5 | 92.6 | 93.5 | 92.9 | Time:()
07/21/2026 02:15:00.000 DST | 86.2 | 92.6 | 93.5 | 92.9 | Time:()
07/21/2026 02:30:00.000 DST | 86.3 | 92.6 | 93.4 | 92.7 | Time:()
07/21/2026 02:45:00.000 DST | 86.1 | 92.6 | 93.3 | 92.7 | Time:()
07/21/2026 03:00:00.000 DST | 86.2 | 92.5 | 93.3 | 92.4 | Time:()
07/21/2026 03:15:00.000 DST | 86.4 | 92.4 | 93.2 | 92.4 | Time:()
07/21/2026 03:30:00.000 DST | 86.4 | 92.4 | 93.2 | 92.5 | Time:()
07/21/2026 03:45:00.000 DST | 86.1 | 92.4 | 93.1 | 92.4 | Time:()
07/21/2026 04:00:00.000 DST | 86.0 | 92.3 | 93.1 | 92.1 | Time:()
07/21/2026 04:15:00.000 DST | 86.1 | 92.2 | 93.0 | 92.2 | Time:()
07/21/2026 04:30:00.000 DST | 85.8 | 88.8 | 91.0 | 88.3 | Time:()
07/21/2026 04:45:00.000 DST | 86.6 | 89.2 | 90.7 | 84.8 | Time:()
07/21/2026 05:00:00.000 DST | 87.0 | 90.6 | 90.4 | 84.5 | Time:()
07/21/2026 05:15:00.000 DST | 86.7 | 91.4 | 90.1 | 84.4 | Time:()
07/21/2026 05:30:00.000 DST | 86.4 | 91.4 | 89.8 | 84.6 | Time:()
07/21/2026 05:45:00.000 DST | 86.6 | 92.1 | 89.5 | 84.4 | Time:()
07/21/2026 06:00:00.000 DST | 86.2 | 90.4 | 89.3 | 83.8 | Time:()
07/21/2026 06:15:00.000 DST | 86.0 | 91.9 | 89.0 | 83.8 | Time:()
07/21/2026 06:30:00.000 DST | 86.2 | 91.0 | 89.1 | 84.0 | Time:()
07/21/2026 06:45:00.000 DST | 85.7 | 90.0 | 89.1 | 84.1 | Time:()
07/21/2026 07:00:00.000 DST | 85.8 | 88.9 | 88.9 | 84.1 | Time:()
07/21/2026 07:15:00.000 DST | 85.8 | 87.8 | 89.4 | 84.0 | Time:()
07/21/2026 07:30:00.000 DST | 86.2 | 88.1 | 89.3 | 83.9 | Time:()
07/21/2026 07:45:00.000 DST | 87.1 | 88.2 | 89.9 | 83.8 | Time:()
07/21/2026 08:00:00.000 DST | 87.3 | 89.1 | 89.6 | 84.0 | Time:()
07/21/2026 08:15:00.000 DST | 87.6 | 90.2 | 89.6 | 84.2 | Time:()
07/21/2026 08:30:00.000 DST | 88.3 | 90.9 | 89.5 | 84.4 | Time:()
07/21/2026 08:45:00.000 DST | 88.3 | 90.7 | 88.1 | 84.6 | Time:()
07/21/2026 09:00:00.000 DST | 88.5 | 91.1 | 87.3 | 84.8 | Time:()
07/21/2026 09:15:00.000 DST | 87.7 | 91.1 | 87.3 | 85.0 | Time:()
07/21/2026 09:30:00.000 DST | 87.6 | 91.9 | 87.4 | 85.1 | Time:()
07/21/2026 09:45:00.000 DST | 87.5 | 92.4 | 87.3 | 85.3 | Time:()
07/21/2026 10:00:00.000 DST | 88.1 | 92.0 | 87.7 | 85.6 | Time:()
07/21/2026 10:15:00.000 DST | 89.2 | 91.8 | 87.8 | 85.8 | Time:()
07/21/2026 10:30:00.000 DST | 90.2 | 91.1 | 88.1 | 86.2 | Time:()
07/21/2026 10:45:00.000 DST | 90.6 | 91.3 | 88.4 | 86.5 | Time:()
07/21/2026 11:00:00.000 DST | 90.9 | 91.3 | 88.6 | 86.9 | Time:()
07/21/2026 11:15:00.000 DST | 90.4 | 91.7 | 89.2 | 87.1 | Time:()
07/21/2026 11:30:00.000 DST | 91.0 | 91.9 | 89.0 | 87.5 | Time:()
07/21/2026 11:45:00.000 DST | 91.1 | 91.7 | 89.0 | 87.7 | Time:()
07/21/2026 12:00:00.000 DST | 91.0 | 93.2 | 89.1 | 88.0 | Time:()
07/21/2026 12:15:00.000 DST | 91.3 | 98.9 | 89.3 | 88.0 | Time:()
07/21/2026 12:30:00.000 DST | 91.4 | 105.8 | 89.5 | 88.2 | Time:()
07/21/2026 12:45:00.000 DST | 91.3 | 107.1 | 89.8 | 88.6 | Time:()
07/21/2026 13:00:00.000 DST | 91.1 | 104.3 | 90.1 | 88.8 | Time:()
07/21/2026 13:15:00.000 DST | 91.5 | 103.6 | 90.4 | 89.0 | Time:()
07/21/2026 13:30:00.000 DST | 91.6 | 104.7 | 90.6 | 89.3 | Time:()
07/21/2026 13:45:00.000 DST | 91.7 | 106.6 | 90.7 | 89.5 | Time:()
07/21/2026 14:00:00.000 DST | 91.8 | 107.1 | 91.0 | 89.8 | Time:()
07/21/2026 14:15:00.000 DST | 91.9 | 103.3 | 90.9 | 89.7 | Time:()
07/21/2026 14:30:00.000 DST | 97.9 | 103.3 | 91.2 | 89.9 | Time:()
07/21/2026 14:45:00.000 DST | 99.9 | 103.5 | 91.3 | 91.1 | Time:()
07/21/2026 15:00:00.000 DST | 100.8 | 104.1 | 91.2 | 93.3 | Time:()
07/21/2026 15:15:00.000 DST | 101.6 | 104.3 | 90.9 | 93.8 | Time:()
07/21/2026 15:30:00.000 DST | 102.3 | 104.5 | 90.4 | 94.0 | Time:()
07/21/2026 15:45:00.000 DST | 97.1 | 104.7 | 90.1 | 94.6 | Time:()
07/21/2026 16:00:00.000 DST | 96.3 | 104.5 | 88.2 | 93.3 | Time:()
07/21/2026 16:15:00.000 DST | 96.2 | 104.1 | 83.7 | 91.1 | Time:()
07/21/2026 16:30:00.000 DST | 96.5 | 103.9 | 84.9 | 92.7 | Time:()
07/21/2026 16:45:00.000 DST | 95.7 | 104.1 | 86.0 | 92.9 | Time:()
07/21/2026 17:00:00.000 DST | 96.4 | 104.0 | 86.6 | 93.5 | Time:()
07/21/2026 17:15:00.000 DST | 96.4 | 103.9 | 86.8 | 93.9 | Time:()
07/21/2026 17:30:00.000 DST | 96.4 | 103.7 | 86.8 | 95.5 | Time:()
07/21/2026 17:45:00.000 DST | 96.3 | 103.6 | 86.1 | 94.3 | Time:()
07/21/2026 18:00:00.000 DST | 96.2 | 103.4 | 86.4 | 94.5 | Time:()
07/21/2026 18:15:00.000 DST | 96.2 | 103.3 | 86.8 | 94.5 | Time:()
07/21/2026 18:30:00.000 DST | 96.2 | 103.3 | 87.1 | 94.4 | Time:()
07/21/2026 18:45:00.000 DST | 96.1 | 103.1 | 86.9 | 94.1 | Time:()
07/21/2026 19:00:00.000 DST | 96.1 | 103.0 | 87.0 | 93.7 | Time:()
07/21/2026 19:15:00.000 DST | 96.0 | 103.0 | 87.1 | 94.1 | Time:()
07/21/2026 19:30:00.000 DST | 95.9 | 102.9 | 87.1 | 94.3 | Time:()
07/21/2026 19:45:00.000 DST | 95.9 | 102.9 | 86.9 | 94.4 | Time:()
07/21/2026 20:00:00.000 DST | 95.8 | 102.9 | 86.6 | 94.5 | Time:()
07/21/2026 20:15:00.000 DST | 95.7 | 102.9 | 86.7 | 94.8 | Time:()
07/21/2026 20:30:00.000 DST | 95.7 | 102.8 | 86.5 | 94.4 | Time:()
07/21/2026 20:45:00.000 DST | 95.6 | 102.7 | 86.2 | 94.5 | Time:()
07/21/2026 21:00:00.000 DST | 95.6 | 102.7 | 86.1 | 94.1 | Time:()
07/21/2026 21:15:00.000 DST | 95.5 | 102.7 | 86.1 | 94.1 | Time:()
07/21/2026 21:30:00.000 DST | 95.5 | 102.6 | 85.6 | 94.1 | Time:()
07/21/2026 21:45:00.000 DST | 95.4 | 102.5 | 85.8 | 94.3 | Time:()
07/21/2026 22:00:00.000 DST | 95.3 | 102.4 | 85.7 | 93.6 | Time:()
07/21/2026 22:15:00.000 DST | 95.3 | 102.3 | 85.6 | 93.9 | Time:()
07/21/2026 22:30:00.000 DST | 95.2 | 102.3 | 85.5 | 93.9 | Time:()
07/21/2026 22:45:00.000 DST | 95.1 | 102.2 | 85.3 | 93.6 | Time:()
07/21/2026 23:00:00.000 DST | 95.0 | 102.2 | 84.9 | 92.8 | Time:()
07/21/2026 23:15:00.000 DST | 95.0 | 102.1 | 84.8 | 92.3 | Time:()
07/21/2026 23:30:00.000 DST | 94.9 | 102.0 | 85.1 | 92.2 | Time:()
07/21/2026 23:45:00.000 DST | 94.9 | 102.0 | 84.9 | 93.0 | Time:()

## 2026-07-22
X-400 - Log | 2026-07-22
Date Time | K1 Temp(F) | K2 Temp(F) | K3 Temp(F) | K6 Temp(F) | Trigger
07/22/2026 00:00:00.000 DST | 94.8 | 101.8 | 85.0 | 92.9 | Time:()
07/22/2026 00:15:00.000 DST | 94.8 | 101.8 | 84.9 | 93.0 | Time:()
07/22/2026 00:30:00.000 DST | 94.7 | 101.7 | 84.6 | 93.1 | Time:()
07/22/2026 00:45:00.000 DST | 94.6 | 101.7 | 84.3 | 93.1 | Time:()
07/22/2026 01:00:00.000 DST | 94.6 | 101.6 | 84.3 | 93.0 | Time:()
07/22/2026 01:15:00.000 DST | 94.6 | 101.5 | 84.3 | 93.1 | Time:()
07/22/2026 01:30:00.000 DST | 94.6 | 101.4 | 84.1 | 93.1 | Time:()
07/22/2026 01:45:00.000 DST | 94.5 | 101.4 | 84.0 | 93.1 | Time:()
07/22/2026 02:00:00.000 DST | 94.4 | 101.3 | 83.8 | 93.0 | Time:()
07/22/2026 02:15:00.000 DST | 94.4 | 101.2 | 83.8 | 92.8 | Time:()
07/22/2026 02:30:00.000 DST | 94.3 | 101.2 | 83.7 | 92.7 | Time:()
07/22/2026 02:45:00.000 DST | 94.2 | 101.1 | 83.6 | 92.6 | Time:()
07/22/2026 03:00:00.000 DST | 94.2 | 101.0 | 83.3 | 92.6 | Time:()
07/22/2026 03:15:00.000 DST | 94.2 | 100.9 | 83.1 | 92.5 | Time:()
07/22/2026 03:30:00.000 DST | 94.1 | 100.8 | 83.2 | 92.3 | Time:()
07/22/2026 03:45:00.000 DST | 94.0 | 100.7 | 83.0 | 92.3 | Time:()
07/22/2026 04:00:00.000 DST | 93.9 | 100.7 | 83.3 | 92.1 | Time:()
07/22/2026 04:15:00.000 DST | 94.1 | 98.6 | 83.2 | 92.3 | Time:()
07/22/2026 04:30:00.000 DST | 93.2 | 93.8 | 83.7 | 84.1 | Time:()
07/22/2026 04:45:00.000 DST | 92.4 | 93.0 | 83.5 | 82.4 | Time:()
07/22/2026 05:00:00.000 DST | 91.9 | 92.2 | 84.1 | 81.4 | Time:()
07/22/2026 05:15:00.000 DST | 91.4 | 91.4 | 84.6 | 81.1 | Time:()
07/22/2026 05:30:00.000 DST | 90.9 | 90.9 | 84.1 | 80.1 | Time:()
07/22/2026 05:45:00.000 DST | 90.4 | 90.4 | 84.2 | 79.1 | Time:()
07/22/2026 06:00:00.000 DST | 90.3 | 90.0 | 83.1 | 79.5 | Time:()
07/22/2026 06:15:00.000 DST | 89.8 | 89.5 | 82.1 | 79.0 | Time:()
07/22/2026 06:30:00.000 DST | 89.8 | 89.7 | 83.8 | 78.7 | Time:()
07/22/2026 06:45:00.000 DST | 90.2 | 89.2 | 85.3 | 77.9 | Time:()
07/22/2026 07:00:00.000 DST | 88.7 | 89.3 | 84.4 | 79.2 | Time:()
07/22/2026 07:15:00.000 DST | 86.4 | 89.0 | 82.9 | 78.4 | Time:()
07/22/2026 07:30:00.000 DST | 84.9 | 88.9 | 82.3 | 78.0 | Time:()
07/22/2026 07:45:00.000 DST | 87.0 | 88.6 | 81.5 | 78.0 | Time:()
07/22/2026 08:00:00.000 DST | 87.2 | 89.5 | 81.0 | 77.9 | Time:()
07/22/2026 08:15:00.000 DST | 87.8 | 88.0 | 80.4 | 78.1 | Time:()
07/22/2026 08:30:00.000 DST | 87.3 | 87.5 | 80.3 | 78.6 | Time:()
07/22/2026 08:45:00.000 DST | 87.2 | 87.3 | 80.2 | 78.9 | Time:()
07/22/2026 09:00:00.000 DST | 87.2 | 85.8 | 80.1 | 79.5 | Time:()
07/22/2026 09:15:00.000 DST | 88.8 | 86.6 | 80.6 | 80.1 | Time:()
07/22/2026 09:30:00.000 DST | 90.2 | 85.8 | 80.6 | 80.2 | Time:()
07/22/2026 09:45:00.000 DST | 90.3 | 85.6 | 80.5 | 80.6 | Time:()
07/22/2026 10:00:00.000 DST | 87.8 | 85.3 | 80.8 | 80.9 | Time:()
07/22/2026 10:15:00.000 DST | 87.4 | 85.4 | 81.0 | 81.1 | Time:()
07/22/2026 10:30:00.000 DST | 88.0 | 85.9 | 81.7 | 81.1 | Time:()
07/22/2026 10:45:00.000 DST | 87.6 | 86.3 | 81.8 | 81.2 | Time:()
07/22/2026 11:00:00.000 DST | 87.7 | 85.4 | 81.5 | 81.7 | Time:()
07/22/2026 11:15:00.000 DST | 88.3 | 86.0 | 81.8 | 82.1 | Time:()
07/22/2026 11:30:00.000 DST | 89.4 | 85.3 | 81.9 | 82.2 | Time:()
07/22/2026 11:45:00.000 DST | 96.7 | 85.6 | 84.6 | 82.3 | Time:()
07/22/2026 12:00:00.000 DST | 96.9 | 85.7 | 83.8 | 82.5 | Time:()
07/22/2026 12:15:00.000 DST | 100.5 | 85.4 | 83.9 | 82.9 | Time:()
07/22/2026 12:30:00.000 DST | 98.2 | 85.5 | 83.5 | 82.9 | Time:()
07/22/2026 12:45:00.000 DST | 98.6 | 85.0 | 83.4 | 82.9 | Time:()
07/22/2026 13:00:00.000 DST | 99.6 | 85.3 | 83.3 | 82.9 | Time:()
07/22/2026 13:15:00.000 DST | 100.2 | 85.5 | 83.7 | 83.2 | Time:()
07/22/2026 13:30:00.000 DST | 97.8 | 85.5 | 83.7 | 83.1 | Time:()
07/22/2026 13:45:00.000 DST | 97.8 | 86.3 | 84.5 | 83.8 | Time:()
07/22/2026 14:00:00.000 DST | 98.3 | 85.6 | 83.5 | 83.5 | Time:()
07/22/2026 14:15:00.000 DST | 98.9 | 85.6 | 84.7 | 83.7 | Time:()
07/22/2026 14:30:00.000 DST | 99.4 | 84.4 | 84.4 | 83.3 | Time:()
07/22/2026 14:45:00.000 DST | 99.8 | 84.0 | 85.2 | 83.1 | Time:()
07/22/2026 15:00:00.000 DST | 100.3 | 84.5 | 83.8 | 83.1 | Time:()
07/22/2026 15:15:00.000 DST | 100.8 | 84.5 | 84.2 | 85.1 | Time:()
07/22/2026 15:30:00.000 DST | 100.9 | 84.6 | 84.3 | 86.2 | Time:()
07/22/2026 15:45:00.000 DST | 100.9 | 83.5 | 84.5 | 86.0 | Time:()
07/22/2026 16:00:00.000 DST | 101.0 | 84.5 | 84.6 | 88.6 | Time:()
07/22/2026 16:15:00.000 DST | 100.8 | 83.2 | 84.8 | 87.0 | Time:()
07/22/2026 16:30:00.000 DST | 100.4 | 82.8 | 85.1 | 86.9 | Time:()
07/22/2026 16:45:00.000 DST | 100.7 | 85.6 | 85.4 | 88.6 | Time:()
07/22/2026 17:00:00.000 DST | 100.2 | 86.1 | 85.8 | 90.1 | Time:()
07/22/2026 17:15:00.000 DST | 100.0 | 86.6 | 86.1 | 88.9 | Time:()
07/22/2026 17:30:00.000 DST | 99.8 | 86.5 | 86.4 | 90.3 | Time:()
07/22/2026 17:45:00.000 DST | 99.7 | 87.6 | 86.8 | 89.7 | Time:()
07/22/2026 18:00:00.000 DST | 99.4 | 88.6 | 87.0 | 89.8 | Time:()
07/22/2026 18:15:00.000 DST | 99.3 | 88.9 | 87.2 | 90.1 | Time:()
07/22/2026 18:30:00.000 DST | 99.1 | 89.1 | 87.7 | 89.6 | Time:()
07/22/2026 18:45:00.000 DST | 98.8 | 89.1 | 87.6 | 90.2 | Time:()
07/22/2026 19:00:00.000 DST | 98.7 | 89.3 | 87.7 | 89.5 | Time:()
07/22/2026 19:15:00.000 DST | 98.5 | 89.3 | 88.1 | 89.0 | Time:()
07/22/2026 19:30:00.000 DST | 98.4 | 89.4 | 88.0 | 88.6 | Time:()
07/22/2026 19:45:00.000 DST | 98.3 | 89.4 | 88.1 | 88.4 | Time:()
07/22/2026 20:00:00.000 DST | 98.1 | 89.5 | 88.1 | 88.4 | Time:()
07/22/2026 20:15:00.000 DST | 97.9 | 89.6 | 88.0 | 88.8 | Time:()
07/22/2026 20:30:00.000 DST | 97.9 | 89.7 | 88.0 | 88.7 | Time:()
07/22/2026 20:45:00.000 DST | 97.8 | 89.7 | 87.9 | 88.6 | Time:()
07/22/2026 21:00:00.000 DST | 97.8 | 89.7 | 87.9 | 88.3 | Time:()
07/22/2026 21:15:00.000 DST | 97.7 | 89.7 | 87.8 | 88.2 | Time:()
07/22/2026 21:30:00.000 DST | 97.6 | 89.8 | 87.8 | 87.9 | Time:()
07/22/2026 21:45:00.000 DST | 97.5 | 89.8 | 87.7 | 87.6 | Time:()
07/22/2026 22:00:00.000 DST | 97.4 | 89.8 | 87.7 | 87.4 | Time:()
07/22/2026 22:15:00.000 DST | 97.3 | 89.8 | 87.7 | 87.3 | Time:()
07/22/2026 22:30:00.000 DST | 97.2 | 89.8 | 87.7 | 86.8 | Time:()
07/22/2026 22:45:00.000 DST | 97.1 | 89.7 | 87.6 | 86.6 | Time:()
07/22/2026 23:00:00.000 DST | 97.0 | 89.7 | 87.6 | 86.7 | Time:()
07/22/2026 23:15:00.000 DST | 96.8 | 89.7 | 87.6 | 86.8 | Time:()
07/22/2026 23:30:00.000 DST | 96.8 | 89.7 | 87.5 | 86.6 | Time:()
07/22/2026 23:45:00.000 DST | 96.7 | 89.7 | 87.5 | 86.7 | Time:()

## 2026-07-23
X-400 - Log | 2026-07-23
Date Time | K1 Temp(F) | K2 Temp(F) | K3 Temp(F) | K6 Temp(F) | Trigger
07/23/2026 00:00:00.000 DST | 96.5 | 89.7 | 87.5 | 86.6 | Time:()
07/23/2026 00:15:00.000 DST | 96.4 | 89.8 | 87.5 | 86.6 | Time:()
07/23/2026 00:30:00.000 DST | 96.3 | 89.7 | 87.4 | 86.5 | Time:()
07/23/2026 00:45:00.000 DST | 96.2 | 89.6 | 87.4 | 86.3 | Time:()
07/23/2026 01:00:00.000 DST | x.x | 89.6 | 87.4 | 86.2 | Time:()
07/23/2026 01:15:00.000 DST | 96.0 | 89.6 | 87.3 | 86.1 | Time:()
07/23/2026 01:30:00.000 DST | 95.9 | 89.6 | 87.3 | 86.0 | Time:()
07/23/2026 01:45:00.000 DST | 95.8 | 89.5 | 87.3 | 85.8 | Time:()
07/23/2026 02:00:00.000 DST | 95.7 | 89.5 | 87.3 | 85.7 | Time:()
07/23/2026 02:15:00.000 DST | 95.6 | 89.5 | 87.3 | 85.5 | Time:()
07/23/2026 02:30:00.000 DST | 95.5 | 89.5 | 87.2 | 85.3 | Time:()
07/23/2026 02:45:00.000 DST | 95.4 | 89.4 | 87.2 | 85.1 | Time:()
07/23/2026 03:00:00.000 DST | 95.2 | 89.4 | 87.1 | 84.9 | Time:()
07/23/2026 03:15:00.000 DST | 95.2 | 89.4 | 87.1 | 84.8 | Time:()
07/23/2026 03:30:00.000 DST | 95.0 | 89.3 | 87.1 | 84.6 | Time:()
07/23/2026 03:45:00.000 DST | 94.9 | 89.3 | 87.0 | 84.5 | Time:()
07/23/2026 04:00:00.000 DST | 94.8 | 89.3 | 87.0 | 84.4 | Time:()
07/23/2026 04:15:00.000 DST | 94.7 | 89.2 | 86.9 | 84.5 | Time:()
07/23/2026 04:30:00.000 DST | 88.5 | 87.5 | 83.5 | 80.7 | Time:()
07/23/2026 04:45:00.000 DST | 87.2 | 84.4 | 82.3 | 76.4 | Time:()
07/23/2026 05:00:00.000 DST | 86.3 | 83.2 | 82.0 | 74.3 | Time:()
07/23/2026 05:15:00.000 DST | 85.7 | 82.3 | 80.5 | 73.3 | Time:()
07/23/2026 05:30:00.000 DST | 84.7 | 80.0 | 78.9 | 72.7 | Time:()
07/23/2026 05:45:00.000 DST | 83.8 | 77.8 | 76.9 | 72.0 | Time:()
07/23/2026 06:00:00.000 DST | 83.8 | 78.5 | 77.7 | 71.9 | Time:()
07/23/2026 06:15:00.000 DST | 83.6 | 76.3 | 76.0 | 71.3 | Time:()
07/23/2026 06:30:00.000 DST | 83.3 | 77.7 | 77.1 | 71.4 | Time:()
07/23/2026 06:45:00.000 DST | 80.0 | 74.9 | 74.8 | 70.4 | Time:()
07/23/2026 07:00:00.000 DST | 79.7 | 74.2 | 74.9 | 70.2 | Time:()
07/23/2026 07:15:00.000 DST | 80.8 | 75.6 | 77.3 | 71.1 | Time:()
07/23/2026 07:30:00.000 DST | 79.0 | 75.3 | 75.6 | 71.4 | Time:()
07/23/2026 07:45:00.000 DST | 78.4 | 81.2 | 74.3 | 71.3 | Time:()
07/23/2026 08:00:00.000 DST | 77.4 | 80.6 | 74.4 | 71.9 | Time:()
07/23/2026 08:15:00.000 DST | 76.9 | 80.0 | 73.7 | 72.3 | Time:()
07/23/2026 08:30:00.000 DST | 78.1 | 81.3 | 74.9 | 73.1 | Time:()
07/23/2026 08:45:00.000 DST | 78.4 | 81.9 | 74.6 | 73.4 | Time:()
07/23/2026 09:00:00.000 DST | 78.8 | 81.6 | 75.5 | 74.2 | Time:()
07/23/2026 09:15:00.000 DST | 78.5 | 81.7 | 75.1 | 74.4 | Time:()
07/23/2026 09:30:00.000 DST | 79.2 | 82.2 | 75.6 | 74.5 | Time:()
07/23/2026 09:45:00.000 DST | 78.6 | 82.4 | 76.1 | 75.0 | Time:()
07/23/2026 10:00:00.000 DST | 78.5 | 81.8 | 76.0 | 74.8 | Time:()
07/23/2026 10:15:00.000 DST | 79.5 | 82.8 | 75.6 | 75.5 | Time:()
07/23/2026 10:30:00.000 DST | 79.9 | 82.6 | 76.5 | 75.9 | Time:()
07/23/2026 10:45:00.000 DST | 79.5 | 82.3 | 76.7 | 76.1 | Time:()
07/23/2026 11:00:00.000 DST | 79.7 | 82.0 | 77.0 | 76.5 | Time:()
07/23/2026 11:15:00.000 DST | 79.2 | 82.3 | 77.0 | 76.3 | Time:()
07/23/2026 11:30:00.000 DST | 80.2 | 83.5 | 77.5 | 76.6 | Time:()
07/23/2026 11:45:00.000 DST | 79.5 | 83.9 | 77.2 | 76.4 | Time:()
07/23/2026 12:00:00.000 DST | 80.0 | 97.3 | 77.7 | 76.9 | Time:()
07/23/2026 12:15:00.000 DST | 80.3 | 98.8 | 78.1 | 77.2 | Time:()
07/23/2026 12:30:00.000 DST | 80.0 | 99.7 | 77.9 | 77.3 | Time:()
07/23/2026 12:45:00.000 DST | 80.5 | 98.1 | 78.1 | 77.4 | Time:()
07/23/2026 13:00:00.000 DST | 80.3 | 100.5 | 78.1 | 77.7 | Time:()
07/23/2026 13:15:00.000 DST | 80.5 | 101.4 | 78.2 | 77.8 | Time:()
07/23/2026 13:30:00.000 DST | 80.4 | 101.7 | 77.9 | 77.9 | Time:()
07/23/2026 13:45:00.000 DST | 80.2 | 101.6 | 78.0 | 77.9 | Time:()
07/23/2026 14:00:00.000 DST | 81.3 | 102.9 | 78.5 | 78.3 | Time:()
07/23/2026 14:15:00.000 DST | 81.2 | 103.1 | 78.4 | 78.4 | Time:()
07/23/2026 14:30:00.000 DST | 81.3 | 104.0 | 78.3 | 78.4 | Time:()
07/23/2026 14:45:00.000 DST | 81.8 | 105.0 | 78.8 | 78.8 | Time:()
07/23/2026 15:00:00.000 DST | 81.9 | 105.8 | 78.8 | 78.9 | Time:()
07/23/2026 15:15:00.000 DST | 82.2 | 101.0 | 78.7 | 78.9 | Time:()
07/23/2026 15:30:00.000 DST | 82.1 | 106.8 | 78.9 | 79.1 | Time:()
07/23/2026 15:45:00.000 DST | 81.8 | 103.6 | 78.5 | 80.5 | Time:()
07/23/2026 16:00:00.000 DST | 84.0 | 102.9 | 78.7 | 81.2 | Time:()
07/23/2026 16:15:00.000 DST | 84.3 | 105.4 | 78.7 | 81.4 | Time:()
07/23/2026 16:30:00.000 DST | 84.2 | 107.3 | 79.2 | 82.4 | Time:()
07/23/2026 16:45:00.000 DST | 84.6 | 100.0 | 79.2 | 83.4 | Time:()
07/23/2026 17:00:00.000 DST | 85.0 | 99.0 | 79.3 | 83.6 | Time:()
07/23/2026 17:15:00.000 DST | 84.9 | 98.5 | 79.3 | 83.5 | Time:()
07/23/2026 17:30:00.000 DST | 84.4 | 98.3 | 79.3 | 83.6 | Time:()
07/23/2026 17:45:00.000 DST | 84.9 | 98.1 | 79.4 | 83.6 | Time:()
07/23/2026 18:00:00.000 DST | 84.7 | 97.8 | 79.2 | 83.6 | Time:()
07/23/2026 18:15:00.000 DST | 84.5 | 97.6 | 79.3 | 83.7 | Time:()
07/23/2026 18:30:00.000 DST | 84.5 | 97.4 | 79.3 | 83.2 | Time:()
07/23/2026 18:45:00.000 DST | 84.4 | 97.3 | 79.2 | 84.2 | Time:()
07/23/2026 19:00:00.000 DST | 84.1 | 97.1 | 79.2 | 85.1 | Time:()
07/23/2026 19:15:00.000 DST | 83.9 | 97.0 | 79.3 | 85.2 | Time:()
07/23/2026 19:30:00.000 DST | 83.8 | 96.8 | 79.3 | 85.6 | Time:()
07/23/2026 19:45:00.000 DST | 83.6 | 96.7 | 79.2 | 85.8 | Time:()
07/23/2026 20:00:00.000 DST | 83.2 | 96.5 | 79.1 | 85.5 | Time:()
07/23/2026 20:15:00.000 DST | 82.8 | 96.4 | 79.0 | 85.0 | Time:()
07/23/2026 20:30:00.000 DST | 82.5 | 96.2 | 78.9 | 85.3 | Time:()
07/23/2026 20:45:00.000 DST | 82.5 | 96.1 | 78.9 | 86.0 | Time:()
07/23/2026 21:00:00.000 DST | 82.2 | 96.0 | 78.5 | 84.7 | Time:()
07/23/2026 21:15:00.000 DST | 81.8 | 95.9 | 78.5 | 83.9 | Time:()
07/23/2026 21:30:00.000 DST | 81.4 | 95.7 | 78.1 | 85.4 | Time:()
07/23/2026 21:45:00.000 DST | 81.4 | 95.6 | 78.1 | 83.8 | Time:()
07/23/2026 22:00:00.000 DST | 81.1 | 95.5 | 77.6 | 84.4 | Time:()
07/23/2026 22:15:00.000 DST | 80.7 | 95.4 | 77.3 | 84.2 | Time:()
07/23/2026 22:30:00.000 DST | 80.3 | 95.3 | 77.5 | 84.0 | Time:()
07/23/2026 22:45:00.000 DST | 80.0 | 95.2 | 76.9 | 83.8 | Time:()
07/23/2026 23:00:00.000 DST | 80.1 | 95.1 | 77.3 | 84.1 | Time:()
07/23/2026 23:15:00.000 DST | 80.0 | 95.0 | 77.1 | 83.7 | Time:()
07/23/2026 23:30:00.000 DST | 80.0 | 94.9 | 77.1 | 83.2 | Time:()
07/23/2026 23:45:00.000 DST | 79.8 | 94.8 | 76.6 | 84.8 | Time:()

## 2026-07-24
X-400 - Log | 2026-07-24
Date Time | K1 Temp(F) | K2 Temp(F) | K3 Temp(F) | K6 Temp(F) | Trigger
07/24/2026 00:00:00.000 DST | 79.7 | 94.7 | 76.9 | 84.5 | Time:()
07/24/2026 00:15:00.000 DST | 78.9 | 94.6 | 76.4 | 83.7 | Time:()
07/24/2026 00:30:00.000 DST | 79.2 | 94.5 | 76.8 | 83.8 | Time:()
07/24/2026 00:45:00.000 DST | 79.0 | 94.4 | 76.4 | 84.4 | Time:()
07/24/2026 01:00:00.000 DST | 78.9 | 94.3 | 76.6 | 83.7 | Time:()
07/24/2026 01:15:00.000 DST | 78.9 | 94.2 | 76.5 | 83.5 | Time:()
07/24/2026 01:30:00.000 DST | 78.2 | 94.1 | 76.1 | 82.8 | Time:()
07/24/2026 01:45:00.000 DST | 77.9 | 94.0 | 75.8 | 82.7 | Time:()
07/24/2026 02:00:00.000 DST | 78.3 | 93.9 | 76.1 | 82.9 | Time:()
07/24/2026 02:15:00.000 DST | 78.4 | 93.8 | 76.0 | 82.8 | Time:()
07/24/2026 02:30:00.000 DST | 78.1 | 93.8 | 76.0 | 82.8 | Time:()
07/24/2026 02:45:00.000 DST | 77.7 | 93.7 | 75.7 | 82.4 | Time:()
07/24/2026 03:00:00.000 DST | 77.6 | 93.6 | 75.8 | 82.4 | Time:()
07/24/2026 03:15:00.000 DST | 77.5 | 93.4 | 75.2 | 83.4 | Time:()
07/24/2026 03:30:00.000 DST | 77.6 | 93.4 | 75.2 | 83.5 | Time:()
07/24/2026 03:45:00.000 DST | 76.9 | 93.3 | 75.7 | 82.2 | Time:()
07/24/2026 04:00:00.000 DST | 76.7 | 93.2 | 75.4 | 81.6 | Time:()
07/24/2026 04:15:00.000 DST | 76.7 | 93.1 | 75.3 | 81.6 | Time:()
07/24/2026 04:30:00.000 DST | 76.8 | 85.8 | 75.3 | 77.6 | Time:()
07/24/2026 04:45:00.000 DST | 76.3 | 84.8 | 75.6 | 73.9 | Time:()
07/24/2026 05:00:00.000 DST | 78.2 | 84.4 | 75.7 | 73.5 | Time:()
07/24/2026 05:15:00.000 DST | 77.6 | 84.2 | 75.2 | 72.9 | Time:()
07/24/2026 05:30:00.000 DST | 78.5 | 83.4 | 75.2 | 72.6 | Time:()
07/24/2026 05:45:00.000 DST | 79.4 | 83.2 | 75.3 | 72.8 | Time:()
07/24/2026 06:00:00.000 DST | 78.4 | 83.0 | 74.9 | 72.8 | Time:()
07/24/2026 06:15:00.000 DST | 77.1 | 82.2 | 74.8 | 72.5 | Time:()
07/24/2026 06:30:00.000 DST | 78.8 | 82.1 | 74.9 | 72.1 | Time:()
07/24/2026 06:45:00.000 DST | 77.6 | 82.0 | 73.0 | 71.9 | Time:()
07/24/2026 07:00:00.000 DST | 78.0 | 81.7 | 73.0 | 71.0 | Time:()
07/24/2026 07:15:00.000 DST | 76.6 | 81.4 | 72.8 | 71.7 | Time:()
07/24/2026 07:30:00.000 DST | 73.5 | 79.2 | 71.6 | 71.7 | Time:()
07/24/2026 07:45:00.000 DST | 73.9 | 80.9 | 75.5 | 71.7 | Time:()
07/24/2026 08:00:00.000 DST | 74.1 | 81.7 | 77.5 | 72.2 | Time:()
07/24/2026 08:15:00.000 DST | 74.2 | 79.5 | 78.1 | 72.5 | Time:()
07/24/2026 08:30:00.000 DST | 74.3 | 79.8 | 78.3 | 72.6 | Time:()
07/24/2026 08:45:00.000 DST | 74.8 | 79.5 | 78.7 | 72.9 | Time:()
07/24/2026 09:00:00.000 DST | 74.7 | 78.1 | 78.4 | 73.4 | Time:()
07/24/2026 09:15:00.000 DST | 75.1 | 78.2 | 78.7 | 73.7 | Time:()
07/24/2026 09:30:00.000 DST | 75.7 | 79.2 | 79.2 | 73.7 | Time:()
07/24/2026 09:45:00.000 DST | 76.6 | 79.1 | 79.5 | 74.1 | Time:()
07/24/2026 10:00:00.000 DST | 76.2 | 78.8 | 78.6 | 74.5 | Time:()
07/24/2026 10:15:00.000 DST | 77.0 | 80.0 | 78.8 | 75.0 | Time:()
07/24/2026 10:30:00.000 DST | 78.4 | 81.5 | 80.1 | 74.7 | Time:()
07/24/2026 10:45:00.000 DST | 79.0 | 81.2 | 79.6 | 75.0 | Time:()
07/24/2026 11:00:00.000 DST | 79.9 | 81.2 | 79.2 | 75.9 | Time:()
07/24/2026 11:15:00.000 DST | 78.9 | 80.7 | 78.7 | 76.4 | Time:()
07/24/2026 11:30:00.000 DST | 80.0 | 81.1 | 79.1 | 76.5 | Time:()
07/24/2026 11:45:00.000 DST | 80.3 | 81.9 | 79.6 | 77.1 | Time:()
07/24/2026 12:00:00.000 DST | 81.7 | 82.0 | 80.2 | 77.3 | Time:()
07/24/2026 12:15:00.000 DST | 80.2 | 81.2 | 85.3 | 77.6 | Time:()
07/24/2026 12:30:00.000 DST | 80.4 | 81.4 | 85.5 | 77.8 | Time:()
07/24/2026 12:45:00.000 DST | 80.9 | 80.6 | 87.7 | 77.7 | Time:()
07/24/2026 13:00:00.000 DST | 80.9 | 80.8 | 88.2 | 77.6 | Time:()
07/24/2026 13:15:00.000 DST | 81.0 | 81.1 | 84.6 | 78.0 | Time:()
07/24/2026 13:30:00.000 DST | 81.8 | 82.5 | 84.8 | 78.7 | Time:()
07/24/2026 13:45:00.000 DST | 82.2 | 82.0 | 85.2 | 78.8 | Time:()
07/24/2026 14:00:00.000 DST | 82.6 | 81.6 | 85.9 | 78.9 | Time:()
07/24/2026 14:15:00.000 DST | 84.9 | 81.1 | 86.6 | 79.0 | Time:()
07/24/2026 14:30:00.000 DST | 90.1 | 81.0 | 87.0 | 78.9 | Time:()
07/24/2026 14:45:00.000 DST | 92.6 | 81.0 | 87.0 | 79.0 | Time:()
07/24/2026 15:00:00.000 DST | 93.4 | 81.5 | 88.2 | 79.2 | Time:()
07/24/2026 15:15:00.000 DST | 93.9 | 82.1 | 88.7 | 79.8 | Time:()
07/24/2026 15:30:00.000 DST | 94.4 | 82.2 | 89.3 | 81.4 | Time:()
07/24/2026 15:45:00.000 DST | 94.9 | 82.7 | 89.9 | 82.6 | Time:()
07/24/2026 16:00:00.000 DST | 95.5 | 81.5 | 90.6 | 81.8 | Time:()
07/24/2026 16:15:00.000 DST | 96.2 | 82.9 | 91.0 | 83.2 | Time:()
07/24/2026 16:30:00.000 DST | 96.7 | 83.9 | 91.3 | 83.1 | Time:()
07/24/2026 16:45:00.000 DST | 97.3 | 84.0 | 91.5 | 84.6 | Time:()
07/24/2026 17:00:00.000 DST | 98.0 | 84.9 | 91.6 | 84.9 | Time:()
07/24/2026 17:15:00.000 DST | x.x | 85.6 | 91.5 | 84.8 | Time:()
07/24/2026 17:30:00.000 DST | 99.0 | 85.8 | 91.6 | 84.6 | Time:()
07/24/2026 17:45:00.000 DST | 99.5 | 85.9 | 91.4 | 84.2 | Time:()
07/24/2026 18:00:00.000 DST | 98.2 | 86.0 | 91.4 | 83.7 | Time:()
07/24/2026 18:15:00.000 DST | 96.2 | 86.0 | 91.2 | 83.6 | Time:()
07/24/2026 18:30:00.000 DST | 97.3 | 86.2 | 90.9 | 83.7 | Time:()
07/24/2026 18:45:00.000 DST | 99.7 | 86.2 | 90.8 | 84.0 | Time:()
07/24/2026 19:00:00.000 DST | 98.8 | 86.3 | 90.7 | 84.3 | Time:()
07/24/2026 19:15:00.000 DST | 94.3 | 86.3 | 90.5 | 84.6 | Time:()
07/24/2026 19:30:00.000 DST | 92.3 | 86.4 | 90.4 | 84.5 | Time:()
07/24/2026 19:45:00.000 DST | 91.5 | 86.5 | 90.4 | 84.3 | Time:()
07/24/2026 20:00:00.000 DST | x.x | 86.5 | 90.2 | 84.0 | Time:()
07/24/2026 20:15:00.000 DST | 90.6 | 86.5 | 90.1 | 83.5 | Time:()
07/24/2026 20:30:00.000 DST | 90.3 | 86.6 | 90.0 | 83.3 | Time:()
07/24/2026 20:45:00.000 DST | 90.0 | 86.6 | 89.9 | 83.3 | Time:()
07/24/2026 21:00:00.000 DST | 89.8 | 86.6 | 89.7 | 82.9 | Time:()
07/24/2026 21:15:00.000 DST | 89.7 | 86.6 | 89.7 | 82.7 | Time:()
07/24/2026 21:30:00.000 DST | 89.4 | 86.7 | 89.6 | 82.3 | Time:()
07/24/2026 21:45:00.000 DST | 89.3 | 86.7 | 89.5 | 82.7 | Time:()
07/24/2026 22:00:00.000 DST | 89.1 | 86.7 | 89.4 | 82.7 | Time:()
07/24/2026 22:15:00.000 DST | 89.0 | 86.7 | 89.5 | 82.6 | Time:()
07/24/2026 22:30:00.000 DST | 88.8 | 86.8 | 89.5 | 82.5 | Time:()
07/24/2026 22:45:00.000 DST | 88.8 | 86.8 | 89.3 | 82.7 | Time:()
07/24/2026 23:00:00.000 DST | 88.6 | 86.8 | 89.2 | 82.6 | Time:()
07/24/2026 23:15:00.000 DST | 88.5 | 86.9 | 89.2 | 82.4 | Time:()
07/24/2026 23:30:00.000 DST | 88.4 | 86.9 | 89.2 | 82.7 | Time:()
07/24/2026 23:45:00.000 DST | 88.3 | 86.9 | 89.2 | 82.5 | Time:()

## 2026-07-25
X-400 - Log | 2026-07-25
Date Time | K1 Temp(F) | K2 Temp(F) | K3 Temp(F) | K6 Temp(F) | Trigger
07/25/2026 00:00:00.000 DST | 88.1 | 86.9 | 89.0 | 82.4 | Time:()
07/25/2026 00:15:00.000 DST | 88.1 | 86.9 | 89.0 | 82.4 | Time:()
07/25/2026 00:30:00.000 DST | 87.9 | 86.9 | 89.1 | 82.5 | Time:()
07/25/2026 00:45:00.000 DST | 87.8 | 87.0 | 88.9 | 82.3 | Time:()
07/25/2026 01:00:00.000 DST | 87.7 | 86.9 | 89.0 | 82.3 | Time:()
07/25/2026 01:15:00.000 DST | 87.6 | 86.9 | 88.8 | 82.2 | Time:()
07/25/2026 01:30:00.000 DST | 87.5 | 86.9 | 88.9 | 82.0 | Time:()
07/25/2026 01:45:00.000 DST | 87.4 | 86.9 | 88.9 | 82.0 | Time:()
07/25/2026 02:00:00.000 DST | 87.3 | 86.9 | 88.9 | 82.2 | Time:()
07/25/2026 02:15:00.000 DST | 87.2 | 86.9 | 88.7 | 82.0 | Time:()
07/25/2026 02:30:00.000 DST | 87.2 | 87.0 | 88.7 | 82.0 | Time:()
07/25/2026 02:45:00.000 DST | 87.1 | 87.0 | 88.8 | 82.0 | Time:()
07/25/2026 03:00:00.000 DST | 87.0 | 86.9 | 88.7 | 82.2 | Time:()
07/25/2026 03:15:00.000 DST | 86.9 | 86.9 | 88.7 | 81.9 | Time:()
07/25/2026 03:30:00.000 DST | 86.8 | 83.7 | 88.6 | 78.0 | Time:()
07/25/2026 03:45:00.000 DST | 86.8 | 83.0 | 88.6 | 76.4 | Time:()
07/25/2026 04:00:00.000 DST | 86.7 | 83.8 | 88.5 | 76.6 | Time:()
07/25/2026 04:15:00.000 DST | 86.6 | 82.5 | 88.5 | 76.7 | Time:()
07/25/2026 04:30:00.000 DST | 86.5 | 83.0 | 88.5 | 76.5 | Time:()
07/25/2026 04:45:00.000 DST | 86.4 | 83.3 | 88.5 | 76.2 | Time:()
07/25/2026 05:00:00.000 DST | 86.3 | 83.6 | 88.5 | 76.4 | Time:()